## DHQ
Annex-1 | [13 empty] | FORM-1
Reliability Indices for District Head Quarters in HESCOM for the month of April-2023
Sl.No | Name of District Head Quarters | Total No of 11 KV Feeders | Total No of 11 KV Feeders affected | Outage due to incoming supply failure (In Hrs) | Cumulative Outage due to incoming supply failure (in Hrs) for FY 23-24 | Outage of 11 KV level(in Hrs) |  |  |  | Reliability for the Month of April-2023 |  |  |  | Reliability for cumulative period from Apr-23 to Apr-23
[6 empty] | Scheduled Outage | UnScheduled Outage | Total | Cumulative | Sum of outage duration of all feeders(in Hrs) | outage duration of all feeders(in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder level in % | Reliability supply of power to consumers in % | Cumulative outage duration of all feeder(in Hrs) for FY 23-24 | Cumulative outage duration per feeder(in Hrs/Fdr) | Cumulative feeder Reliability Index at 11 KV feeder level in % | Cumulative Reliability of supply of power to consumer in %
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 |  | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16
1 | DHARWAD | 41 | 41 | 10:05 | 10:05 | 589:57 | 188:44 | 778:41 | 778:41 | 788:46 | 19:14 | 97.3622 | 97.328 | 788:46 | 19:14 | 97.3622 | 97.328
2 | GADAG | 12 | 12 | 75:00 | 75:00 | 130:37 | 33:01 | 163:38 | 163:38 | 238:38 | 19:53 | 98.1061 | 97.238 | 238:38 | 19:53 | 98.1061 | 97.238
3 | HAVERI | 8 | 8 | 0:00 | 0:00 | 47:36 | 22:11 | 69:47 | 69:47 | 69:47 | 8:43 | 98.7885 | 98.7885 | 69:47 | 8:43 | 98.7885 | 98.7885
4 | KARWAR | 10 | 10 | 24:12 | 24:12 | 25:32 | 50:41 | 76:13 | 76:13 | 100:25 | 10:03 | 98.9414 | 98.6053 | 100:25 | 10:03 | 98.9414 | 98.6053
5 | BELAGAVI | 77 | 75 | 112:16 | 112:16 | 129:22 | 142:27 | 271:49 | 271:49 | 384:05 | 4:59 | 99.5097 | 99.3072 | 384:05 | 4:59 | 99.5097 | 99.3072
6 | VIJAYAPUR | 41 | 40 | 74:41 | 74:41 | 231:29 | 218:06 | 449:35 | 449:35 | 524:16 | 12:47 | 98.477 | 98.224 | 524:16 | 12:47 | 98.477 | 98.224
7 | BAGALKOT | 24 | 24 | 134:17 | 134:17 | 112:56 | 302:41 | 415:37 | 415:37 | 549:54 | 22:55 | 97.5948 | 96.8177 | 549:54 | 22:55 | 97.5948 | 96.8177
* Feeder Reliability Index at 11 KV feeder level=(Total No of Feeders X 24 hrs X No. of days in the Month] - [outage duration of all 11 KV feeders during the month in hrs as in column 8)} x 100 / [ Total No of 11 KV Feeders x 24 hrs x No. of days in the month]
** Reliability of supply of power to consumers ={[ Total no of Feeders x 24 hrs x No .of days in the Month] -[ Sum of outage duration Including outage in higher voltages along with 11 KV outage during the month in hrs in column 9 ]} x 100 /[ Total No of FeedersX24hrsXNo.of days in the month]

## URBAN
Annex-II | [13 empty] | FORM-2
Reliability Indices for Towns and Cities in HESCOM for the month of April-2023
Sl. No | Name of the Town/ City | Total No of 11 KV Feeders | Total No of 11 KV Feeders affected | Outage due to incoming supply failure (In Hrs) | Cumulative Outage due to incoming supply failure (in Hrs) for FY 23-24 | Outage of 11 KV level(in Hrs) |  |  |  | Reliability for the Month of April-2023 |  |  |  | Reliability for cumulative period from Apr-23 to Apr-23
[6 empty] | Scheduled Outage | UnScheduled Outage | Total | Cumulative | Sum of outage duration of all feeders (in Hrs) | Outage duration of all feeders(in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder level in % | Reliability supply of power to consumers in % | Cumulative outage duration of all feeders(in Hrs) for FY 23-24 | Cumulative outage duration per feeder(in Hrs/Fdr) | Cumulative feeder Reliability Index at 11 KV feeder level in % | Cumulative Reliability of supply of power to consumer in %
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 |  | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16
1 | HUBBALLI(U) | 84 | 84 | 20:55 | 20:55 | 210:13 | 7.3819 | 387:23 | 387:23 | 408:18 | 4:52 | 99.3595 | 99.3249 | 408:18 | 4:52 | 99.3595 | 99.3249
2 | DHARWAD (RURAL) | 13 | 13 | 0:00 | 0:00 | 109:32 | 2.4188 | 167:35 | 167:35 | 167:35 | 12:53 | 98.2096 | 98.2096 | 167:35 | 12:53 | 98.2096 | 98.2096
3 | KUNDAGOL | 1 | 1 | 19:45 | 19:45 | 5:40 | 0.070833 | 7:22 | 7:22 | 27:07 | 27:07 | 98.9769 | 96.2338 | 27:07 | 27:07 | 98.9769 | 96.2338
4 | NAVALGUND | 1 | 1 | 0:00 | 0:00 | 2:39 | 0.60139 | 17:05 | 17:05 | 17:05 | 17:05 | 97.6273 | 97.6273 | 17:05 | 17:05 | 97.6273 | 97.6273
5 | ANNIGERI | 1 | 1 | 0:00 | 0:00 | 11:40 | 0.31667 | 19:16 | 19:16 | 19:16 | 19:16 | 97.3241 | 97.3241 | 19:16 | 19:16 | 97.3241 | 97.3241
6 | KALGHATAGI | 2 | 2 | 0:00 | 0:00 | 10:50 | 0.60069 | 25:15 | 25:15 | 25:15 | 12:38 | 98.2465 | 98.2465 | 25:15 | 12:38 | 98.2465 | 98.2465
7 | ALNAVAR | 2 | 2 | 0:00 | 0:00 | 5:40 | 0.17708 | 9:55 | 9:55 | 9:55 | 4:58 | 99.3113 | 99.3113 | 9:55 | 4:58 | 99.3113 | 99.3113
8 | NARAGUND | 2 | 2 | 13:00 | 13:00 | 18:10 | 0.68403 | 34:35 | 34:35 | 47:35 | 23:48 | 97.5984 | 96.6956 | 47:35 | 23:48 | 97.5984 | 96.6956
9 | SHIRAHATTI | 1 | 1 | 0:00 | 0:00 | 5:50 | 0.17014 | 9:55 | 9:55 | 9:55 | 9:55 | 98.6227 | 98.6227 | 9:55 | 9:55 | 98.6227 | 98.6227
10 | LAXMESHWAR | 3 | 3 | 0:00 | 0:00 | 18:54 | 0.49167 | 30:42 | 30:42 | 30:42 | 10:14 | 98.5787 | 98.5787 | 30:42 | 10:14 | 98.5787 | 98.5787
11 | NAREGAL | 1 | 1 | 4:00 | 4:00 | 3:10 | 0.10764 | 5:45 | 5:45 | 9:45 | 9:45 | 99.2014 | 98.6458 | 9:45 | 9:45 | 99.2014 | 98.6458
12 | GAJENDRAGAD | 2 | 2 | 0:00 | 0:00 | 6:20 | 0.47917 | 17:50 | 17:50 | 17:50 | 8:55 | 98.7616 | 98.7616 | 17:50 | 8:55 | 98.7616 | 98.7616
13 | RON | 3 | 3 | 0:00 | 0:00 | 14:20 | 1.0653 | 39:54 | 39:54 | 39:54 | 13:18 | 98.1528 | 98.1528 | 39:54 | 13:18 | 98.1528 | 98.1528
14 | MUNDARAGI | 1 | 1 | 1:55 | 1:55 | 6:10 | 0.53819 | 19:05 | 19:05 | 21:00 | 21:00 | 97.3495 | 97.0833 | 21:00 | 21:00 | 97.3495 | 97.0833
15 | MULAGUND | 1 | 1 | 0:00 | 0:00 | 36:51 | 0.73125 | 54:24 | 54:24 | 54:24 | 54:24 | 92.4444 | 92.4444 | 54:24 | 54:24 | 92.4444 | 92.4444
16 | SAVANUR | 2 | 2 | 3:25 | 3:25 | 19:50 | 0.14931 | 23:25 | 23:25 | 26:50 | 13:25 | 98.3738 | 98.1366 | 26:50 | 13:25 | 98.3738 | 98.1366
17 | SHIGGAON | 3 | 3 | 11:10 | 11:10 | 9:15 | 0.31944 | 16:55 | 16:55 | 28:05 | 9:22 | 99.2168 | 98.6998 | 28:05 | 9:22 | 99.2168 | 98.6998
18 | BANKAPUR | 1 | 1 | 7:50 | 7:50 | 7:25 | 0.33333 | 15:25 | 15:25 | 23:15 | 23:15 | 97.8588 | 96.7708 | 23:15 | 23:15 | 97.8588 | 96.7708
19 | HANGAL | 2 | 2 | 13:30 | 13:30 | 6:45 | 0.23264 | 12:20 | 12:20 | 25:50 | 12:55 | 99.1435 | 98.206 | 25:50 | 12:55 | 99.1435 | 98.206
20 | RANEBENNUR | 10 | 10 | 7:54 | 7:54 | 74:40 | 0.80417 | 93:58 | 93:58 | 101:52 | 10:11 | 98.6949 | 98.5852 | 101:52 | 10:11 | 98.6949 | 98.5852
21 | TUMINAKATTI | 1 | 1 | 2:45 | 2:45 | 8:30 | 0.13542 | 11:45 | 11:45 | 14:30 | 14:30 | 98.3681 | 97.9861 | 14:30 | 14:30 | 98.3681 | 97.9861
22 | RATTIHALLI | 1 | 1 | 1:50 | 1:50 | 11:40 | 0.27083 | 18:10 | 18:10 | 20:00 | 20:00 | 97.4769 | 97.2222 | 20:00 | 20:00 | 97.4769 | 97.2222
23 | HIREKERUR | 1 | 1 | 2:20 | 2:20 | 4:50 | 0.23611 | 10:30 | 10:30 | 12:50 | 12:50 | 98.5417 | 98.2176 | 12:50 | 12:50 | 98.5417 | 98.2176
24 | BYADAGI | 5 | 5 | 24:50 | 24:50 | 22:45 | 0.99653 | 46:40 | 46:40 | 71:30 | 14:18 | 98.7037 | 98.0139 | 71:30 | 14:18 | 98.7037 | 98.0139
25 | SIRSI | 5 | 5 | 5:25 | 5:25 | 51:10 | 0.56944 | 64:50 | 64:50 | 70:15 | 14:03 | 98.1991 | 98.0486 | 70:15 | 14:03 | 98.1991 | 98.0486
26 | YELLAPUR | 1 | 1 | 1:40 | 1:40 | 3:30 | 0.072917 | 5:15 | 5:15 | 6:55 | 6:55 | 99.2708 | 99.0394 | 6:55 | 6:55 | 99.2708 | 99.0394
27 | MUNDAGOD | 1 | 1 | 2:20 | 2:20 | 2:55 | 0.15278 | 6:35 | 6:35 | 8:55 | 8:55 | 99.0856 | 98.7616 | 8:55 | 8:55 | 99.0856 | 98.7616
28 | SIDDAPUR | 2 | 2 | 3:30 | 3:30 | 4:50 | 0.22222 | 10:10 | 10:10 | 13:40 | 6:50 | 99.294 | 99.0509 | 13:40 | 6:50 | 99.294 | 99.0509
29 | DANDELI | 7 | 7 | 1:36 | 1:36 | 105:45 | 0.27361 | 112:19 | 112:19 | 113:55 | 16:16 | 97.7715 | 97.7397 | 113:55 | 16:16 | 97.7715 | 97.7397
30 | HALIYAL | 2 | 2 | 0:00 | 0:00 | 14:40 | 0.23611 | 20:20 | 20:20 | 20:20 | 10:10 | 98.588 | 98.588 | 20:20 | 10:10 | 98.588 | 98.588
31 | ANKOLA | 2 | 2 | 6:38 | 6:38 | 9:43 | 0.015278 | 10:05 | 10:05 | 16:43 | 8:22 | 99.2998 | 98.8391 | 16:43 | 8:22 | 99.2998 | 98.8391
32 | KUMTA | 3 | 3 | 7:36 | 7:36 | 7:29 | 0.30069 | 14:42 | 14:42 | 22:18 | 7:26 | 99.3194 | 98.9676 | 22:18 | 7:26 | 99.3194 | 98.9676
33 | GOKARNA | 1 | 1 | 39:41 | 39:41 | 3:30 | 0.13542 | 6:45 | 6:45 | 46:26 | 46:26 | 99.0625 | 93.5509 | 46:26 | 46:26 | 99.0625 | 93.5509
34 | HONNAVAR | 3 | 3 | 25:36 | 25:36 | 12:53 | 0.31875 | 20:32 | 20:32 | 46:08 | 15:23 | 99.0494 | 97.8642 | 46:08 | 15:23 | 99.0494 | 97.8642
35 | BHATKAL | 3 | 3 | 3:36 | 3:36 | 9:32 | 0.22847 | 15:01 | 15:01 | 18:37 | 6:12 | 99.3048 | 99.1381 | 18:37 | 6:12 | 99.3048 | 99.1381
36 | KHANAPUR | 2 | 2 | 0:50 | 0:50 | 123:20 | 0.61458 | 138:05 | 138:05 | 138:55 | 69:28 | 90.4109 | 90.353 | 138:55 | 69:28 | 90.4109 | 90.353
37 | BAILHONGAL | 3 | 3 | 8:36 | 8:36 | 19:00 | 1.0069 | 43:10 | 43:10 | 51:46 | 17:15 | 98.0015 | 97.6034 | 51:46 | 17:15 | 98.0015 | 97.6034
38 | KITTUR | 1 | 1 | 3:00 | 3:00 | 2:25 | 0.19792 | 7:10 | 7:10 | 10:10 | 10:10 | 99.0046 | 98.588 | 10:10 | 10:10 | 99.0046 | 98.588
39 | M K HUBLI | 1 | 1 | 1:50 | 1:50 | 7:55 | 0.32292 | 15:40 | 15:40 | 17:30 | 17:30 | 97.8241 | 97.5694 | 17:30 | 17:30 | 97.8241 | 97.5694
40 | SOUNDATTI | 3 | 3 | 3:30 | 3:30 | 15:16 | 0.3625 | 23:58 | 23:58 | 27:28 | 9:09 | 98.8904 | 98.7284 | 27:28 | 9:09 | 98.8904 | 98.7284
41 | MUNAVALLI | 1 | 1 | 3:05 | 3:05 | 37:55 | 0.35764 | 46:30 | 46:30 | 49:35 | 49:35 | 93.5417 | 93.1134 | 49:35 | 49:35 | 93.5417 | 93.1134
42 | YARAGATTI | 1 | 1 | 4:12 | 4:12 | 32:18 | 0.30972 | 39:44 | 39:44 | 43:56 | 43:56 | 94.4815 | 93.8981 | 43:56 | 43:56 | 94.4815 | 93.8981
43 | RAMDURG | 2 | 2 | 4:18 | 4:18 | 29:05 | 0.42014 | 39:10 | 39:10 | 43:28 | 21:44 | 97.2801 | 96.9815 | 43:28 | 21:44 | 97.2801 | 96.9815
44 | GOKAK | 10 | 10 | 34:58 | 34:58 | 9:57 | 1.475 | 45:21 | 45:21 | 80:19 | 8:02 | 99.3701 | 98.8845 | 80:19 | 8:02 | 99.3701 | 98.8845
45 | MUDALAGI | 2 | 2 | 0:10 | 0:10 | 17:55 | 0.17361 | 22:05 | 22:05 | 22:15 | 11:08 | 98.4664 | 98.4549 | 22:15 | 11:08 | 98.4664 | 98.4549
46 | KONNUR | 1 | 1 | 1:05 | 1:05 | 23:16 | 0.069444 | 24:56 | 24:56 | 26:01 | 26:01 | 96.537 | 96.3866 | 26:01 | 26:01 | 96.537 | 96.3866
47 | RAIBAG | 1 | 1 | 0:00 | 0:00 | 26:00 | 0.41667 | 36:00 | 36:00 | 36:00 | 36:00 | 95 | 95 | 36:00 | 36:00 | 95 | 95
48 | KUDACHI | 1 | 1 | 1:20 | 1:20 | 25:10 | 0.15278 | 28:50 | 28:50 | 30:10 | 30:10 | 95.9954 | 95.8102 | 30:10 | 30:10 | 95.9954 | 95.8102
49 | ATHANI | 7 | 7 | 37:00 | 37:00 | 208:58 | 0.25139 | 215:00 | 215:00 | 252:00 | 36:00 | 95.7341 | 95 | 252:00 | 36:00 | 95.7341 | 95
50 | CHIKKODI | 4 | 4 | 0:00 | 0:00 | 67:18 | 1.5556 | 104:38 | 104:38 | 104:38 | 26:10 | 96.3669 | 96.3669 | 104:38 | 26:10 | 96.3669 | 96.3669
51 | NIPPANI | 5 | 5 | 0:00 | 0:00 | 56:55 | 0.54861 | 70:05 | 70:05 | 70:05 | 14:01 | 98.0532 | 98.0532 | 70:05 | 14:01 | 98.0532 | 98.0532
52 | SADALAGA | 1 | 1 | 0:00 | 0:00 | 13:10 | 0.26736 | 19:35 | 19:35 | 19:35 | 19:35 | 97.2801 | 97.2801 | 19:35 | 19:35 | 97.2801 | 97.2801
53 | MUDDEBIHAL | 2 | 2 | 24:05 | 24:05 | 34:50 | 0.70139 | 51:40 | 51:40 | 75:45 | 37:52 | 96.412 | 94.7396 | 75:45 | 37:52 | 96.412 | 94.7396
54 | TALIKOTI | 1 | 1 | 3:45 | 3:45 | 18:15 | 1.875 | 63:15 | 63:15 | 67:00 | 67:00 | 91.2153 | 90.6944 | 67:00 | 67:00 | 91.2153 | 90.6944
55 | B.BAGEWADI | 1 | 1 | 0:10 | 0:10 | 3:01 | 0.28125 | 9:46 | 9:46 | 9:56 | 9:56 | 98.6435 | 98.6204 | 9:56 | 9:56 | 98.6435 | 98.6204
56 | INDI | 3 | 3 | 0:28 | 0:28 | 57:05 | 0.35833 | 65:41 | 65:41 | 66:09 | 22:03 | 96.9591 | 96.9375 | 66:09 | 22:03 | 96.9591 | 96.9375
57 | SINDAGI | 2 | 2 | 4:50 | 4:50 | 42:55 | 0.98264 | 66:30 | 66:30 | 71:20 | 35:40 | 95.3819 | 95.0463 | 71:20 | 35:40 | 95.3819 | 95.0463
58 | GULEDGUDDA | 2 | 2 | 1:55 | 1:55 | 57:10 | 0.65625 | 72:55 | 72:55 | 74:50 | 37:25 | 94.9363 | 94.8032 | 74:50 | 37:25 | 94.9363 | 94.8032
59 | ILKAL | 7 | 7 | 18:17 | 18:17 | 85:53 | 7.6028 | 268:21 | 268:21 | 286:38 | 40:57 | 94.6756 | 94.3128 | 286:38 | 40:57 | 94.6756 | 94.3128
60 | KERUR | 1 | 1 | 3:52 | 3:52 | 10:38 | 0.57986 | 24:33 | 24:33 | 28:25 | 28:25 | 96.5903 | 96.0532 | 28:25 | 28:25 | 96.5903 | 96.0532
61 | HUNGUND | 4 | 4 | 23:56 | 23:56 | 31:56 | 2.0917 | 82:08 | 82:08 | 106:04 | 26:31 | 97.1481 | 96.3171 | 106:04 | 26:31 | 97.1481 | 96.3171
62 | BADAMI | 2 | 2 | 4:22 | 4:22 | 13:00 | 1.7549 | 55:07 | 55:07 | 59:29 | 29:45 | 96.1725 | 95.8692 | 59:29 | 29:45 | 96.1725 | 95.8692
63 | JAMKHANDI | 6 | 6 | 5:25 | 5:25 | 54:00 | 0.5625 | 67:30 | 67:30 | 72:55 | 12:09 | 98.4375 | 98.3121 | 72:55 | 12:09 | 98.4375 | 98.3121
64 | MAHALINGAPUR | 2 | 2 | 1:10 | 1:10 | 33:50 | 0.38403 | 43:03 | 43:03 | 44:13 | 22:07 | 97.0104 | 96.9294 | 44:13 | 22:07 | 97.0104 | 96.9294
65 | RABAKAVI | 2 | 2 | 4:20 | 4:20 | 18:40 | 0.15972 | 22:30 | 22:30 | 26:50 | 13:25 | 98.4375 | 98.1366 | 26:50 | 13:25 | 98.4375 | 98.1366
66 | BANAHATTI | 2 | 2 | 1:40 | 1:40 | 13:20 | 0.03125 | 14:05 | 14:05 | 15:45 | 7:52 | 99.022 | 98.9062 | 15:45 | 7:52 | 99.022 | 98.9062
67 | TERDAL | 2 | 2 | 2:00 | 2:00 | 24:10 | 0.19097 | 28:45 | 28:45 | 30:45 | 15:22 | 98.0035 | 97.8646 | 30:45 | 15:22 | 98.0035 | 97.8646
68 | MUDHOL | 4 | 4 | 0:00 | 0:00 | 39:23 | 1.2493 | 69:22 | 69:22 | 69:22 | 17:20 | 97.5914 | 97.5914 | 69:22 | 17:20 | 97.5914 | 97.5914
69 | BILAGI | 1 | 1 | 2:45 | 2:45 | 13:45 | 0.28472 | 20:35 | 20:35 | 23:20 | 23:20 | 97.1412 | 96.7593 | 23:20 | 23:20 | 97.1412 | 96.7593
70 | LOKAPUR | 2 | 2 | 1:20 | 1:20 | 102:25 | 0.62153 | 117:20 | 117:20 | 118:40 | 59:20 | 91.8519 | 91.7593 | 118:40 | 59:20 | 91.8519 | 91.7593
* Feeder Reliability Index at 11 KV feeder level=(Total No of Feeders X 24 hrs X No. of days in the Month] - [outage duration of all 11 KV feeders during the month in hrs as in column 8)} x 100 / [ Total No of 11 KV Feeders x 24 hrs x No. of days in the month]
** Reliability of supply of power to consumers ={[ Total no of Feeders x 24 hrs x No .of days in the Month] -[ Sum of outage duration Including outage in higher voltages along with 11 KV outage during the month in hrs in column 9 ]} x 100 /[ Total No of FeedersX24hrsXNo. of days in the month]

## RURAL (Incl LS)
Annex-III | [13 empty] | FORM-3
Reliability Indices for Rural Areas in HESCOM for the month of April-2023
Sl.No | Name of Rural Area | Total No of 11 KV Feeders | Total No of 11 KV Feeders affected | Outage due to incoming supply failure (In Hrs) | Cumulative Outage due to incoming supply failure (in Hrs) for FY 23-24 | Outage of 11 KV level(in Hrs) |  |  |  | Reliability for the Month of April-2023 |  |  |  | Reliability for cumulative period from Apr-23 to Apr-23
[6 empty] | Scheduled Outage | UnScheduled Outage | Total | Cumulative | Sum of outage duration of all feeders (in Hrs) | Outage duration of all feeders (in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder level in % | Reliability supply of power to consumer in % | Cumulative outage duration of all feeders(in Hrs) for FY 23-24 | Cumulative outage duration per feeder(in Hrs/Fdr) | Cumulative feeder Reliability Index at 11 KV feeder level in % | Cumulative Reliability of supply of power to consumers in %
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 |  | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16
1 | HUBBALLI RURAL | 50 | 50 | 178:08 | 178:08 | 7978:12 | 1010:20 | 8988:32 | 8988:32 | 9166:40 | 183:20 | 75.0319 | 74.537 | 9166:40 | 183:20 | 75.0319 | 74.537
2 | DHARWAD RURAL | 99 | 99 | 94:01 | 94:01 | 15372:26 | 1712:43 | 17085:09 | 17085:09 | 17179:10 | 173:32 | 76.0309 | 75.899 | 17179:10 | 173:32 | 76.0309 | 75.899
3 | GADAG | 112 | 112 | 465:32 | 465:32 | 23690:22 | 1565:44 | 1052.3375 | 1052.3375 | 1071.7347 | 229:39 | 68.6804 | 68.1031 | 1071.7347 | 229:39 | 68.6804 | 68.1031
4 | RON | 61 | 61 | 185:05 | 185:05 | 15072:23 | 1316:04 | 16388:27 | 16388:27 | 16573:32 | 271:42 | 62.6857 | 62.2643 | 16573:32 | 271:42 | 62.6857 | 62.2643
5 | HAVERI | 210 | 210 | 979:45 | 979:45 | 2706.859 | 3311:05 | 2844.8208 | 2844.8208 | 2885.6437 | 329:47 | 54.8441 | 54.1961 | 2885.6437 | 329:47 | 54.8441 | 54.1961
6 | RANEBENNUR | 212 | 212 | 878:04 | 878:04 | 2803.5271 | 2441:52 | 2905.2715 | 2905.2715 | 2941.8576 | 333:02 | 54.3196 | 53.7444 | 2941.8576 | 333:02 | 54.3196 | 53.7444
7 | SIRSI | 59 | 58 | 194:23 | 194:23 | 381:11 | 1094:40 | 1475:51 | 1475:51 | 1670:14 | 28:19 | 96.5258 | 96.0682 | 1670:14 | 28:19 | 96.5258 | 96.0682
8 | DANDELI | 27 | 27 | 101:46 | 101:46 | 754:48 | 355:24 | 1110:12 | 1110:12 | 1211:58 | 44:53 | 94.2891 | 93.7656 | 1211:58 | 44:53 | 94.2891 | 93.7656
9 | KARWAR | 31 | 31 | 147:38 | 147:38 | 209:19 | 127:07 | 336:26 | 336:26 | 484:04 | 15:37 | 98.4927 | 97.8312 | 484:04 | 15:37 | 98.4927 | 97.8312
10 | HONNAVAR | 49 | 49 | 564:27 | 564:27 | 563:22 | 325:34 | 888:56 | 888:56 | 1453:23 | 29:40 | 97.4803 | 95.8804 | 1453:23 | 29:40 | 97.4803 | 95.8804
11 | BELAGAVI RURAL | 151 | 150 | 414:09 | 414:09 | 18437:48 | 3235:08 | 21672:56 | 21672:56 | 22087:05 | 146:16 | 80.0654 | 79.6844 | 22087:05 | 146:16 | 80.0654 | 79.6844
12 | BAILHONGAL | 206 | 205 | 1550:45 | 1550:45 | 2186.5257 | 3732:19 | 2342.0389 | 2342.0389 | 2406.6535 | 280:23 | 62.1029 | 61.0574 | 2406.6535 | 280:23 | 62.1029 | 61.0574
13 | RAMDURG | 95 | 95 | 285:48 | 285:48 | 1302.4285 | 1885:12 | 1380.9785 | 1380.9785 | 1392.8868 | 351:53 | 51.5446 | 51.1268 | 1392.8868 | 351:53 | 51.5446 | 51.1268
14 | GHATAPRABHA | 179 | 179 | 314:36 | 314:36 | 1808.8451 | 2224:06 | 1901.516 | 1901.516 | 1914.6243 | 256:43 | 64.59 | 64.3459 | 1914.6243 | 256:43 | 64.59 | 64.3459
15 | RAIBAG | 183 | 179 | 333:16 | 333:16 | 1883.5389 | 910:09 | 1921.4618 | 1921.4618 | 1935.3479 | 253:49 | 65.0007 | 64.7478 | 1935.3479 | 253:49 | 65.0007 | 64.7478
16 | ATHANI | 207 | 207 | 768:52 | 768:52 | 1901.0264 | 1347:41 | 1957.1799 | 1957.1799 | 1989.216 | 230:38 | 68.4834 | 67.9675 | 1989.216 | 230:38 | 68.4834 | 67.9675
17 | CHIKKODI | 199 | 199 | 416:45 | 416:45 | 2105.6576 | 2673:11 | 2217.0403 | 2217.0403 | 2234.4049 | 269:29 | 62.8636 | 62.5728 | 2234.4049 | 269:29 | 62.8636 | 62.5728
18 | VIJAYAPUR | 217 | 217 | 343:35 | 343:35 | 2496.2924 | 3060:26 | 2623.8104 | 2623.8104 | 2638.1264 | 291:46 | 59.6957 | 59.4758 | 2638.1264 | 291:46 | 59.6957 | 59.4758
19 | INDI | 286 | 286 | 1877:44 | 1877:44 | 2983.5035 | 7255:19 | 3285.8083 | 3285.8083 | 3364.0472 | 282:18 | 61.7039 | 60.792 | 3364.0472 | 282:18 | 61.7039 | 60.792
20 | B.BAGEWADI | 156 | 155 | 612:11 | 612:11 | 1603.7451 | 3884:16 | 1765.5896 | 1765.5896 | 1791.0972 | 275:33 | 62.2737 | 61.7287 | 1791.0972 | 275:33 | 62.2737 | 61.7287
21 | BAGALKOT | 230 | 230 | 1111:51 | 1111:51 | 2533.2056 | 5839:34 | 2776.5208 | 2776.5208 | 2822.8479 | 294:33 | 59.7606 | 59.0892 | 2822.8479 | 294:33 | 59.7606 | 59.0892
22 | JAMAKHANDI | 213 | 213 | 529:00 | 529:00 | 2390.4569 | 1072:32 | 2435.1458 | 2435.1458 | 2457.1875 | 276:52 | 61.8913 | 61.5464 | 2457.1875 | 276:52 | 61.8913 | 61.5464
23 | MUDHOL | 213 | 213 | 756:42 | 756:42 | 2915.134 | 1947:07 | 2996.2639 | 2996.2639 | 3027.7931 | 341:10 | 53.1101 | 52.6167 | 3027.7931 | 341:10 | 53.1101 | 52.6167
* Feeder Reliability Index at 11 KV feeder level=(Total No of Feeders X 24 hrs X No. of days in the Month] - [outage duration of all 11 KV feeders during the month in hrs as in column 8)} x 100 / [ Total No of 11 KV Feeders x 24 hrs x No. of days in the month]
** Reliability of supply of power to consumers ={[ Total no of Feeders x 24 hrs x No .of days in the Month] -[ Sum of outage duration Including outage in higher voltages along with 11 KV outage during the month in hrs in column 9 ]} x 100 /[ Total No of FeedersX24HrsXNo. of days in the month]

## RURAL(Excl LS)
Annex-III | [13 empty] | FORM-3
Reliability Indices for Rural Areas in HESCOM for the month of April-2023 (Excluding Load Shedding Period)
Sl.No | Name of Rural Area | Total No of 11 KV Feeders | Total No of 11 KV Feeders affected | Outage due to incoming supply failure (In Hrs) | Cumulative Outage due to incoming supply failure (in Hrs) for FY 23-24 | Outage of 11 KV level (in Hrs) |  |  |  | Reliability for the Month of April-2023 |  |  |  | Reliability for cumulative period from Apr-23 to Apr-23
[6 empty] | Scheduled Outage | UnScheduled Outage | Total | Cumulative | Sum of outage duration of all feeders (in Hrs) | Outage duration of all feeders (in Hrs/Fdr) | Feeder Reliability Index at 11 KV feeder level in % | Reliability supply of power to consumer in % | Cumulative outage duration of all feeders(in Hrs) for FY 23-24 | Cumulative outage duration per feeder(in Hrs/Fdr) | Cumulative feeder Reliability Index at 11 KV feeder level in % | Cumulative Reliability of supply of power to consumers in %
1 | 2 | 3 | 4 | 5 | 5a | 6 | 7 | 8=6+7 |  | 9=5+8 | 10=9/3 | 11* | 12** | 13 | 14=13/3 | 15 | 16
1 | HUBBALLI RURAL | 50 | 50 | 178:08 | 0:07 | 816:33 | 1010:20 | 1826:53 | 1826:53 | 2005:01 | 40:06 | 94.9253 | 94.4305 | 2005:01 | 40:06 | 94.9253 | 94.4305
2 | DHARWAD RURAL | 99 | 99 | 94:01 | 0:04 | 2001:35 | 1712:43 | 3714:18 | 3714:18 | 3808:19 | 38:28 | 94.7891 | 94.6572 | 3808:19 | 38:28 | 94.7891 | 94.6572
3 | GADAG | 112 | 112 | 465:32 | 0:19 | 1440:02 | 1565:44 | 3005:46 | 3005:46 | 3471:18 | 31:00 | 96.2726 | 95.6953 | 3471:18 | 31:00 | 96.2726 | 95.6953
4 | RON | 61 | 61 | 185:05 | 0:08 | 823:28 | 1316:04 | 2139:32 | 2139:32 | 2324:37 | 38:07 | 95.1286 | 94.7072 | 2324:37 | 38:07 | 95.1286 | 94.7072
5 | HAVERI | 210 | 210 | 979:45 | 0:41 | 2215:00 | 3311:05 | 5526:05 | 5526:05 | 6505:50 | 30:59 | 96.3452 | 95.6972 | 6505:50 | 30:59 | 96.3452 | 95.6972
6 | RANEBENNUR | 212 | 212 | 878:04 | 0:37 | 2496:22 | 2441:52 | 4938:14 | 4938:14 | 5816:18 | 27:26 | 96.7648 | 96.1895 | 5816:18 | 27:26 | 96.7648 | 96.1895
7 | SIRSI | 59 | 58 | 194:23 | 0:08 | 381:11 | 1094:40 | 1475:51 | 1475:51 | 1670:14 | 28:19 | 96.5258 | 96.0682 | 1670:14 | 28:19 | 96.5258 | 96.0682
8 | DANDELI | 27 | 27 | 101:46 | 0:04 | 754:48 | 355:24 | 1110:12 | 1110:12 | 1211:58 | 44:53 | 94.2891 | 93.7656 | 1211:58 | 44:53 | 94.2891 | 93.7656
9 | KARWAR | 31 | 31 | 147:38 | 0:06 | 209:19 | 127:07 | 336:26 | 336:26 | 484:04 | 15:37 | 98.4927 | 97.8312 | 484:04 | 15:37 | 98.4927 | 97.8312
10 | HONNAVAR | 49 | 49 | 564:27 | 0:24 | 563:22 | 325:34 | 888:56 | 888:56 | 1453:23 | 29:40 | 97.4803 | 95.8804 | 1453:23 | 29:40 | 97.4803 | 95.8804
11 | BELAGAVI RURAL | 151 | 150 | 414:09 | 0:17 | 3602:21 | 3235:08 | 6837:29 | 6837:29 | 7251:38 | 48:01 | 93.7109 | 93.33 | 7251:38 | 48:01 | 93.7109 | 93.33
12 | BAILHONGAL | 206 | 205 | 1550:45 | 1:05 | 4175:30 | 3732:19 | 7907:49 | 7907:49 | 9458:34 | 45:55 | 94.6684 | 93.6229 | 9458:34 | 45:55 | 94.6684 | 93.6229
13 | RAMDURG | 95 | 95 | 285:48 | 0:12 | 1968:54 | 1885:12 | 3854:06 | 3854:06 | 4139:54 | 43:35 | 94.3654 | 93.9475 | 4139:54 | 43:35 | 94.3654 | 93.9475
14 | GHATAPRABHA | 179 | 179 | 314:36 | 0:13 | 1780:54 | 2224:06 | 4005:00 | 4005:00 | 4319:36 | 24:08 | 96.8925 | 96.6484 | 4319:36 | 24:08 | 96.8925 | 96.6484
15 | RAIBAG | 183 | 179 | 333:16 | 0:14 | 4065:41 | 910:09 | 4975:50 | 4975:50 | 5309:06 | 29:01 | 96.2236 | 95.9706 | 5309:06 | 29:01 | 96.2236 | 95.9706
16 | ATHANI | 207 | 207 | 768:52 | 0:32 | 3546:04 | 1347:41 | 4893:45 | 4893:45 | 5662:37 | 27:21 | 96.7165 | 96.2006 | 5662:37 | 27:21 | 96.7165 | 96.2006
17 | CHIKKODI | 199 | 199 | 416:45 | 0:17 | 2282:53 | 2673:11 | 4956:04 | 4956:04 | 5372:49 | 27:00 | 96.541 | 96.2501 | 5372:49 | 27:00 | 96.541 | 96.2501
18 | VIJAYAPUR | 217 | 217 | 343:35 | 0:14 | 2136:27 | 3060:26 | 5196:53 | 5196:53 | 5540:28 | 25:32 | 96.6738 | 96.4539 | 5540:28 | 25:32 | 96.6738 | 96.4539
19 | INDI | 286 | 286 | 1877:44 | 1:18 | 4547:46 | 7255:19 | 11803:05 | 11803:05 | 13680:49 | 47:50 | 94.2681 | 93.3562 | 13680:49 | 47:50 | 94.2681 | 93.3562
20 | B.BAGEWADI | 156 | 155 | 612:11 | 0:26 | 2279:05 | 3884:16 | 6163:21 | 6163:21 | 6775:32 | 43:26 | 94.5127 | 93.9677 | 6775:32 | 43:26 | 94.5127 | 93.9677
21 | BAGALKOT | 230 | 230 | 1111:51 | 0:46 | 3969:57 | 5839:34 | 9809:31 | 9809:31 | 10921:22 | 47:29 | 94.0764 | 93.405 | 10921:22 | 47:29 | 94.0764 | 93.405
22 | JAMAKHANDI | 213 | 213 | 529:00 | 0:22 | 3207:22 | 1072:32 | 4279:54 | 4279:54 | 4808:54 | 22:35 | 97.2092 | 96.8643 | 4808:54 | 22:35 | 97.2092 | 96.8643
23 | MUDHOL | 213 | 213 | 756:42 | 0:32 | 2576:16 | 1947:07 | 4523:23 | 4523:23 | 5280:05 | 24:47 | 97.0505 | 96.5571 | 5280:05 | 24:47 | 97.0505 | 96.5571
* Feeder Reliability Index at 11 KV feeder level=(Total No of Feeders X 24 hrs X No. of days in the Month] - [outage duration of all 11 KV feeders during the month in hrs as in column 8)} x 100 / [ Total No of 11 KV Feeders x 24 hrs x No. of days in the month]
** Reliability of supply of power to consumers ={[ Total no of Feeders x 24 hrs x No .of days in the Month] -[ Sum of outage duration Including outage in higher voltages along with 11 KV outage during the month in hrs in column 9 ]} x 100 /[ Total No of FeedersX24HrsXNo. of days in the month]