## MW_ALLOCATION
Hourly load of 220KV station to be maintained 31.01.2026 with respect to the availability (HESCOM) in MW
Name of the 220 KV station | Hours | [23 empty] | TOTAL (MU)
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
AHERI | 29.0442 | 31.1289 | 36.5716 | 29.9201 | 21.7294 | 17.779 | 8.5482 | 9.8114 | 27.6714 | 1.9903 | 117.3327 | 142.1967 | 88.3602 | 86.9648 | 108.7884 | 97.2458 | 113.6235 | 6.8599 | 13.5079 | 17.3213 | 21.7119 | 133.1562 | 20.9602 | 22.8453 | 1.2051
ATHANI | 86.935 | 118.0213 | 110.2767 | 98.5121 | 83.0037 | 105.2495 | 115.9915 | 102.7863 | 128.8402 | 116.7641 | 138.4138 | 152.5145 | 161.626 | 154.7353 | 145.4456 | 134.4491 | 96.9471 | 99.4706 | 73.3159 | 73.7365 | 70.5583 | 63.1056 | 99.3349 | 87.7546 | 2.6178
AMBEWADI | 70.0796 | 75.1095 | 82.0856 | 72.1928 | 62.7068 | 54.5373 | 60.1178 | 57.257 | 61.0738 | 56.2875 | 48.0236 | 47.0765 | 50.4078 | 48.7985 | 46.3937 | 45.213 | 53.6442 | 65.6943 | 75.1901 | 77.7559 | 82.1495 | 68.4913 | 56.4546 | 61.5319 | 1.4783
AEQUS | 34.7642 | 42.8483 | 40.8557 | 35.8125 | 37.1554 | 41.1421 | 34.1055 | 49.3235 | 59.6178 | 78.1384 | 72.6984 | 86.8024 | 84.6094 | 79.8036 | 78.996 | 83.1409 | 73.1588 | 48.1704 | 45.2706 | 56.669 | 54.9457 | 42.5013 | 38.8865 | 42.3838 | 1.3418
BAGALKOT | 130.3999 | 114.6744 | 116.0128 | 130.8877 | 131.5073 | 133.7197 | 128.5853 | 128.7628 | 135.9168 | 111.8127 | 179.5689 | 176.7934 | 194.9647 | 181.8744 | 173.6631 | 163.127 | 184.0276 | 80.0242 | 69.6654 | 90.3964 | 94.2663 | 112.4127 | 130.2991 | 115.7181 | 3.2091
B.BAGEWADI | 36.6182 | 49.5745 | 32.3568 | 37.7224 | 105.4636 | 108.5373 | 119.4959 | 135.4189 | 132.2048 | 161.6528 | 176.783 | 188.7134 | 214.0094 | 204.8591 | 195.3892 | 188.9774 | 139.3535 | 142.0215 | 78.8773 | 55.1703 | 44.4567 | 53.0146 | 33.3802 | 34.8664 | 2.6689
BANNUR | 25.1502 | 23.3613 | 30.0262 | 46.6354 | 35.8401 | 42.4227 | 43.4256 | 47.5775 | 57.5074 | 49.6354 | 48.6093 | 44.3274 | 51.0089 | 56.0605 | 56.1029 | 52.9305 | 57.9028 | 36.9609 | 33.6868 | 23.9983 | 18.6218 | 20.4984 | 16.94 | 15.8258 | 0.93506
BASARKOD | 39.8487 | 42.7088 | 44.6011 | 34.2086 | 28.393 | 10.8412 | 10.425 | 31.4096 | 8.4367 | 98.3048 | 22.0953 | 55.2765 | 40.41 | 36.4576 | 36.4852 | 28.5902 | 32.2534 | 16.732 | 59.3048 | 15.8432 | 11.3481 | 5.0747 | 4.7929 | 15.6718 | 0.72951
BELGAVI | 66.5465 | 62.932 | 63.5296 | 54.4393 | 51.8785 | 57.509 | 84.4874 | 141.4924 | 155.3949 | 162.0213 | 146.9751 | 170.5674 | 171.6873 | 140.6506 | 151.5094 | 149.7888 | 132.016 | 157.7908 | 177.6858 | 203.8812 | 188.9535 | 155.5357 | 131.3604 | 137.0164 | 3.1156
BIDNAL | 55.9087 | 52.6584 | 43.6139 | 38.3964 | 44.9063 | 35.9522 | 50.528 | 44.6409 | 59.1846 | 54.7982 | 51.533 | 50.597 | 52.4012 | 45.6554 | 44.8439 | 44.5699 | 36.5675 | 44.8167 | 64.2958 | 61.9702 | 68.0289 | 58.2543 | 51.3511 | 46.6412 | 1.2021
BIJAPUR (VIJAYAPURA) | 87.8312 | 97.6218 | 109.229 | 105.5597 | 93.1771 | 110.1844 | 86.8054 | 76.9229 | 84.7129 | 86.4919 | 102.0397 | 108.2988 | 116.2839 | 112.8242 | 108.8482 | 85.5777 | 86.0105 | 77.8563 | 75.0401 | 87.9475 | 97.271 | 79.5399 | 75.1225 | 81.8787 | 2.2331
CHIKKODI | 30.2044 | 32.3724 | 12.6775 | 3.8894 | 29.0538 | 64.7123 | 88.8965 | 150.4996 | 119.9033 | 209.0503 | 186.6183 | 171.9069 | 109.1192 | 178.9933 | 169.7011 | 186.0077 | 110.0131 | 171.2137 | 73.0467 | 60.0441 | 32.256 | 77.8923 | 128.06 | 89.0919 | 2.4852
GADAG | 58.6085 | 49.8826 | 54.022 | 65.7031 | 70.746 | 78.7873 | 51.41 | 62.8895 | 111.6765 | 136.0795 | 145.0089 | 159.5044 | 154.7035 | 144.5184 | 153.2367 | 136.8681 | 112.5477 | 79.2555 | 43.6121 | 53.4571 | 20.6177 | 34.2456 | 47.2716 | 62.3699 | 2.087
GHATAPRABHA | 108.1664 | 99.9397 | 100.1929 | 109.5069 | 89.2959 | 103.5047 | 95.1394 | 117.179 | 119.6371 | 114.5067 | 109.9072 | 90.3918 | 89.8325 | 102.3739 | 96.8633 | 97.2308 | 83.5242 | 96.3171 | 67.9997 | 88.9764 | 82.851 | 71.2499 | 83.4432 | 80.6795 | 2.2987
HAVERI | 154.5359 | 169.1146 | 180.2488 | 150.8171 | 146.0409 | 131.44 | 146.8203 | 153.8638 | 165.3126 | 148.0344 | 115.1946 | 127.4252 | 137.7424 | 125.8258 | 133.2327 | 126.0473 | 126.3974 | 155.7308 | 147.6767 | 112.5342 | 93.113 | 94.4647 | 129.1319 | 117.7144 | 3.2885
HUBLI | 38.9514 | 34.1568 | 31.7068 | 54.7172 | 45.4152 | 52.0223 | 56.9727 | 74.1643 | 75.3452 | 81.5321 | 68.1594 | 69.3458 | 75.4094 | 82.1705 | 76.0432 | 82.9926 | 79.2955 | 94.7861 | 88.2717 | 99.9582 | 89.2447 | 71.7012 | 61.3305 | 68.239 | 1.6519
INDI | 89.5278 | 81.7383 | 79.7929 | 76.8562 | 68.0432 | 77.1304 | 87.181 | 96.3308 | 100.0387 | 120.8828 | 121.3459 | 122.5662 | 131.9804 | 127.4141 | 114.2628 | 108.642 | 88.5665 | 79.3602 | 27.1415 | 42.1865 | 52.4078 | 49.4059 | 57.4302 | 70.4197 | 2.0707
KARWAR | 80.6939 | 80.8454 | 80.5005 | 90.3557 | 65.9956 | 61.5656 | 64.7088 | 58.074 | 55.71 | 51.9309 | 45.8549 | 42.942 | 44.4732 | 42.8955 | 38.5476 | 41.1142 | 43.5423 | 54.1383 | 71.7946 | 87.8786 | 86.9243 | 72.3814 | 65.8296 | 64.851 | 1.4935
KUDACHI | 29.6871 | 35.7951 | 41.5345 | 34.405 | 69.8038 | 71.1757 | 71.3552 | 77.7216 | 86.0301 | 112.9065 | 112.8748 | 92.6567 | 107.25 | 106.4823 | 101.0032 | 90.5233 | 46.0548 | 49.0819 | 24.8523 | 38.3601 | 36.459 | 29.7726 | 25.4411 | 29.1886 | 1.5204
KANAGALA | 27.03 | 30.7807 | 32.1445 | 27.8451 | 23.1113 | 24.819 | 18.5625 | 13.6965 | 18.2413 | 12.9659 | 12.8465 | 13.2335 | 11.9922 | 13.4889 | 10.1244 | 12.1208 | 13.6737 | 17.0244 | 20.1137 | 20.1501 | 21.6495 | 19.3627 | 19.5066 | 19.9321 | 0.45442
MUGHALKHOD | 27.7477 | 33.238 | 21.9225 | 42.0359 | 33.4941 | 66.6093 | 67.8948 | 68.3711 | 82.937 | 76.0582 | 76.7986 | 69.5228 | 97.6575 | 92.0426 | 92.9275 | 83.5362 | 87.1934 | 75.0458 | 69.2308 | 28.5536 | 25.1004 | 41.1569 | 48.2944 | 14.1223 | 1.4215
M.K. HUBLI | 64.6286 | 56.1627 | 56.696 | 53.9817 | 46.2982 | 44.1948 | 75.3995 | 82.6083 | 105.3967 | 106.2906 | 75.5448 | 67.5585 | 69.9674 | 60.1457 | 50.5956 | 61.8255 | 62.2067 | 75.9097 | 77.9867 | 81.9473 | 86.5528 | 66.7334 | 99.583 | 89.3043 | 1.7175
MAHALINGPURA | 146.2628 | 132.5195 | 146.8294 | 141.3533 | 150.8438 | 155.067 | 151.4798 | 153.8303 | 158.983 | 136.3939 | 144.7617 | 136.5725 | 138.3841 | 135.4463 | 113.7105 | 115.3971 | 128.5551 | 115.8636 | 68.4445 | 86.3285 | 83.7347 | 74.8903 | 90.3182 | 78.2784 | 2.9842
NARENDRA | 99.6146 | 99.6468 | 98.4871 | 88.936 | 73.8167 | 74.5283 | 84.6969 | 100.9525 | 110.7239 | 111.9504 | 100.211 | 108.1068 | 99.3343 | 92.7945 | 93.694 | 87.3529 | 90.4822 | 95.1565 | 111.1887 | 120.1358 | 126.2385 | 106.5617 | 109.0305 | 107.0833 | 2.3907
RANEBENNUR | 96.0369 | 57.3708 | 65.1991 | 107.042 | 161.5358 | 138.7773 | 153.2189 | 164.8703 | 176.9953 | 133.7792 | 112.9861 | 107.911 | 110.1622 | 105.2799 | 109.291 | 105.4263 | 111.2883 | 111.0584 | 126.5255 | 111.4185 | 131.8148 | 147.9664 | 138.6127 | 168.4159 | 2.953
SIRSI | 70.5032 | 75.5636 | 66.0655 | 60.8059 | 50.4687 | 53.5288 | 60.4813 | 67.573 | 66.6501 | 58.4255 | 54.548 | 49.7693 | 55.7007 | 51.5482 | 44.2176 | 42.3494 | 51.3143 | 76.4183 | 93.9458 | 95.175 | 96.6539 | 81.4336 | 62.7121 | 61.9039 | 1.5478
SHIGGAON | 101.3755 | 106.8102 | 90.3879 | 93.8122 | 82.2713 | 77.1312 | 84.958 | 87.0652 | 82.9421 | 90.4276 | 84.112 | 77.3924 | 72.311 | 82.3161 | 57.4933 | 69.8574 | 87.1523 | 81.1647 | 94.6148 | 75.1455 | 80.7372 | 59.0804 | 69.4391 | 79.7387 | 1.9677
SAVADATTI | 94.7544 | 105.1187 | 115.358 | 107.8866 | 103.7592 | 90.9046 | 95.2423 | 65.1411 | 61.2397 | 73.8173 | 75.8465 | 76.5036 | 78.3886 | 73.8324 | 62.2655 | 62.02 | 65.4813 | 71.1965 | 84.1162 | 103.1047 | 127.8195 | 135.9122 | 122.3657 | 139.9086 | 2.192
VAJRAMATTI | 65.6485 | 65.9629 | 84.9588 | 65.5148 | 82.4427 | 83.7205 | 85.3362 | 81.7767 | 83.3941 | 130.4613 | 143.3284 | 166.7296 | 146.6694 | 145.377 | 153.6837 | 154.0592 | 101.8434 | 76.2346 | 50.3773 | 55.4643 | 64.8495 | 54.8647 | 56.2592 | 58.0916 | 2.257
BESCOM | 2.1978 | 2.3556 | 2.4582 | 2.2625 | 6.5181 | 6.227 | 6.1601 | 5.2439 | 5.163 | 4.6132 | 3.9994 | 2.9913 | 2.9118 | 2.5243 | 3.1236 | 2.813 | 3.552 | 4.1146 | 3.0198 | 2.9128 | 2.8106 | 2.1346 | 2.245 | 1.8205 | 0.084173
GESCOM (Kustagi) | 61.3248 | 64.9411 | 52.53 | 48.7074 | 42.6395 | 52.2069 | 44.7485 | 43.2473 | 45.8242 | 52.6823 | 44.5174 | 45.0812 | 49.5457 | 43.8243 | 41.6388 | 37.913 | 29.4666 | 30.8196 | 39.2249 | 41.7676 | 43.2958 | 37.8029 | 48.7419 | 50.0519 | 1.0925
GESCOM (Shahpur) | 1.6979 | 1.8198 | 1.9765 | 2.029 | 1.7421 | 1.8847 | 1.8657 | 1.5601 | 1.2942 | 7.7073 | 5.9071 | 7.3985 | 7.1974 | 6.1686 | 5.8341 | 5.4901 | 2.3088 | 3.1227 | 3.9926 | 3.7264 | 2.9593 | 2.6467 | 1.2744 | 1.389 | 0.082993
TOTAL | 2112.3246 | 2126.7743 | 2124.8484 | 2112.7499 | 2139.0973 | 2227.8124 | 2335.0441 | 2552.0622 | 2743.9996 | 2948.3934 | 2944.4442 | 3028.674 | 3016.5019 | 2964.1465 | 2867.9556 | 2783.1974 | 2529.9645 | 2389.4108 | 2153.0171 | 2173.9149 | 2140.4016 | 2123.245 | 2125.2033 | 2114.7286 | 58.7779
| 1452 | 1445 | 1454 | 1467 | 1475 | 1504 | 1594 | 1779 | 1921 | 2105 | 2211 | 2280 | 2281 | 2237 | 2124 | 1960 | 1795 | 1633 | 1610 | 1643 | 1592 | 1544 | 1515 | 1481 | 42.1
| 0.68739 | 0.67943 | 0.68428 | 0.69436 | 0.68954 | 0.6751 | 0.68264 | 0.69708 | 0.70007 | 0.71395 | 0.75091 | 0.7528 | 0.75617 | 0.75469 | 0.7406 | 0.70423 | 0.7095 | 0.68343 | 0.74779 | 0.75578 | 0.74379 | 0.72719 | 0.71287 | 0.70033 | 0.71626

## MU_ALLOCATION
HUBLI ELECTRICITY SUPPLY COMPANY LIMITED
No: HESCOM/GM(T)/EM/EE/AEE-1/2025-26/CYS- | [6 empty] | Date: 30.01.2026
To,
Chief Engineer (EIecty), | [6 empty] | Fax No:-080-22282287
SLDC, AR Circle, KPTCL BangaIore, 560009
Sir,
Sub: Energy re-allocation for 31.01.2026 for 220KV receiving stations coming under HESCOM jurisdiction.
| Ref:- Your Ir. No:CEE/EE/AEE-2/SLDC/Cys- |  |  |  |  | Date: 30.01.2026
Energy at Generation level to HESCOM is 60.29 MU
Energy at 220KV level to HESCOM is 58.78 MU
As per the energy allocation from SLDC 31.01.2026, 60.29 MU is alloted at generation level. The same has been reallocated amongst various 220KV receiving stations.
Instructions are issued to respective Zonal Chief Engineer (EIe) and Superintending Engineer (EIe) O&M Circles to limit the daily consumption to within the allocation duly taking into consideration of maximum and minimum values to the 11KV feeders emanating from 220KV, 110KV and 33KV sub-stations.
It is a requested to allocate 100MW more than the above allocation between 22:00 to 06:00 hrs to arrange power supply to EIP Feeders with farm houses during load shedding period.
SI No | Name of 220KV Stations |  | 0.74476 |  | Energy Allocation 31.01.2026 in MU | Average Load in MW | Allocation on 29.01.2026 in MU | Consumption on 29.01.2026 in MU
Hubli Zone
1 | Ambewadi | 31 | 1 | 23.0876 | 1.4783 | 61.5947 | 1.4266 | 1.147
2 | Bidnal | 27.9 | 0.9 | 20.7788 | 1.2021 | 50.0881 | 1.1628 | 1.112
3 | Gadag | 58.9 | 1.9 | 43.8663 | 2.087 | 86.9593 | 2.0223 | 2.254
4 | Haveri | 46.5 | 1.5 | 34.6313 | 3.2885 | 137.0191 | 3.1728 | 3.102
5 | Hubli | 18.6 | 0.6 | 13.8525 | 1.6519 | 68.8305 | 1.606 | 2.147
6 | Karwar | 27.9 | 0.9 | 20.7788 | 1.4935 | 62.2312 | 1.4385 | 1.28
7 | Narendra | 9.3 | 0.3 | 6.9263 | 2.3907 | 99.6135 | 2.3127 | 2.337
8 | Ranebennur | 1.302 | 0.042 | 0.96968 | 2.953 | 123.0409 | 2.855 | 2.596
9 | Sirsi | 4.03 | 0.13 | 3.0014 | 1.5478 | 64.4898 | 1.4975 | 1.376
10 | Shiggaon |  |  |  | 1.9677 | 81.989 | 1.8991 | 1.775
11 | BESCOM (220KV Davengeri) |  |  |  | 0.084173 | 3.5072 | 0.081308 | 0.096
Total Allocation for Hubli Zone |  |  |  |  | 20.1447 | 839.3633 | 19.4747 | 19.222
Belgaum Zone
12 | Aheri |  |  |  | 1.2051 | 50.2112 | 1.1686 | 1.42
13 | Athani | 84.81 | 2.7358 | 63.1631 | 2.6178 | 109.0745 | 2.5285 | 2.629
14 | Aques |  |  |  | 1.3418 | 55.9083 | 1.3017 | 1.349
15 | B. Bagewadi+ (0.015 for Narayanpur Dam & Village) |  |  |  | 2.6689 | 111.2049 | 2.5944 | 3.199
16 | Bagalakote |  |  |  | 3.2091 | 133.7117 | 3.0983 | 3.439
17 | Bannur |  |  |  | 0.93506 | 38.9607 | 0.90573 | 0.944
18 | Basarkod |  |  |  | 0.72951 | 30.3964 | 0.70539 | 0.842
19 | Belgaum | 78.256 | 2.5244 | 50.7926 | 3.1156 | 129.8187 | 3.034 | 3.232
20 | Bijapur |  |  |  | 2.2331 | 93.0448 | 2.1533 | 2.14
21 | Chikkodi (including Hukkeri All of 0.282MU ) | 72.85 | 2.35 | 54.2557 | 2.4852 | 103.551 | 2.4237 | 2.834
22 | Ghataprabha | 77.5 | 2.5 | 57.7189 | 2.2987 | 95.7796 | 2.2189 | 2.52
23 | Indi |  |  |  | 2.0707 | 86.2772 | 2.0002 | 2.232
24 | Kanagala |  |  |  | 0.45442 | 18.934 | 0.43629 | 0.38
25 | Kudachi | 96.1 | 3.1 | 71.5714 | 1.5204 | 63.3506 | 1.4716 | 1.685
26 | Mughalkhod |  |  |  | 1.4215 | 59.2288 | 1.3815 | 1.387
27 | M.K.HUBLI |  |  |  | 1.7175 | 71.5633 | 1.664 | 1.791
28 | Mahalingapur |  |  |  | 2.9842 | 124.3437 | 2.8759 | 2.865
29 | Savadatti | 26.35 | 0.85 | 19.6244 | 2.192 | 91.3326 | 2.1096 | 1.575
30 | Vajramatti | 8.06 | 0.26 | 6.0028 | 2.257 | 94.0437 | 2.1841 | 2.61
31 | GESCOM( 220KV Kustagi) | 7.75 | 0.25 | 5.7719 | 1.0925 | 45.5227 | 1.0517 | 0.886
32 | GESCOM( 220KV Shahpur) |  |  |  | 0.082993 | 3.458 | 0.080638 | 0.092
Total Allocation for Belgaum Zone |  |  |  |  | 38.6332 | 1609.7164 | 37.3881 | 40.051
Total |  | 677.108 | 21.8422 |  | 58.7779 | 2449.0796 | 56.8628 | 59.273
Excess/Deficit Consumption over & above the allocation in MU | [7 empty] | 2.4102
Note: 60.29 is allocation of HESCOM at generation level.
2.5% loss shall be deducted to arrive at 220kV S/S from generation level
Allocation from GESCOM For feeding 110KV Gadag-Betageri and 33KV Hanumanal to 220KV Gadag.
Allocation from GESCOM For feeding 110 KV Ilakal and 110KV Hunagund from 220KV Kustagi. | [8 empty] | 33 kv line
Allocation from BESCOM For feeding 66KV Harihar Hospet to fed BESCOM Loads.
Allocation from GESCOM For feeding 110KV Aski and 110KV Talikoti form 220KV Shahpur.
Including all other ESCOMs allocation total HESCOMS allocation is 58.78 MU
Pls Note: As per the discussions held during VC meeting under the chairmanship of Hon'ble MD, KPTCL on 14.10.2024, it is a requested to allocate 100MW more than the above allocation between 22:00 to 06:00 hrs to arrange power supply to EIP Feeders with farm houses during load shedding period.