## MW_ALLOCATION
Hourly load of 220KV station to be maintained 29.01.2026 with respect to the availability (HESCOM) in MW
Name of the 220 KV station | Hours | [23 empty] | TOTAL (MU)
| 00-01 | 01-02 | 02-03 | 03-04 | 04-05 | 05-06 | 06-07 | 07-08 | 08-09 | 09-10 | 10-11 | 11-12 | 12-13 | 13-14 | 14-15 | 15-16 | 16-17 | 17-18 | 18-19 | 19-20 | 20-21 | 21-22 | 22-23 | 23-24
AHERI | 27.281 | 28.9903 | 33.8367 | 27.6535 | 20.0732 | 16.4792 | 8.1737 | 9.6962 | 27.118 | 1.9512 | 114.3036 | 137.4943 | 85.4116 | 84.076 | 105.9528 | 95.9714 | 114.637 | 6.9499 | 13.5863 | 17.2543 | 21.2232 | 128.8607 | 20.0545 | 21.6154 | 1.1686
ATHANI | 81.6572 | 109.9131 | 102.0299 | 91.0494 | 76.6773 | 97.5549 | 110.9094 | 101.5794 | 126.2634 | 114.4719 | 134.8405 | 147.4709 | 156.2325 | 149.5953 | 141.6545 | 132.6872 | 97.8119 | 100.7757 | 73.7419 | 73.4513 | 68.97 | 61.0699 | 95.0425 | 83.0303 | 2.5285
AMBEWADI | 65.8251 | 69.9494 | 75.947 | 66.7238 | 57.9274 | 50.5501 | 57.4838 | 56.5848 | 59.8523 | 55.1825 | 46.7838 | 45.5197 | 48.7257 | 47.1775 | 45.1844 | 44.6205 | 54.1227 | 66.5563 | 75.627 | 77.4552 | 80.3003 | 66.2819 | 54.0151 | 58.2193 | 1.4266
AEQUS | 32.6537 | 39.9046 | 37.8004 | 33.0995 | 34.3235 | 38.1343 | 32.6112 | 48.7444 | 58.4255 | 76.6045 | 70.8216 | 83.9319 | 81.7859 | 77.1526 | 76.9369 | 82.0514 | 73.8114 | 48.8024 | 45.5337 | 56.4498 | 53.7089 | 41.1302 | 37.2061 | 40.102 | 1.3017
BAGALKOT | 122.4835 | 106.7961 | 107.3371 | 120.9723 | 121.4841 | 123.9437 | 122.9514 | 127.2509 | 133.1984 | 109.6177 | 174.9333 | 170.9469 | 188.4586 | 175.8329 | 169.1365 | 160.9893 | 185.6692 | 81.0742 | 70.0702 | 90.0468 | 92.1444 | 108.7864 | 124.6687 | 109.4884 | 3.0983
B.BAGEWADI | 34.3951 | 46.1686 | 29.9371 | 34.8648 | 97.4254 | 100.6023 | 114.2602 | 133.8289 | 129.5607 | 158.4794 | 172.2192 | 182.4727 | 206.8677 | 198.054 | 190.2964 | 186.501 | 140.5966 | 143.8849 | 79.3357 | 54.9569 | 43.456 | 51.3044 | 31.9378 | 32.9893 | 2.5944
BANNUR | 23.6233 | 21.7563 | 27.7808 | 43.1026 | 33.1084 | 39.3212 | 41.523 | 47.0189 | 56.3572 | 48.6611 | 47.3544 | 42.8616 | 49.3067 | 54.1982 | 54.6406 | 52.2369 | 58.4193 | 37.4459 | 33.8825 | 23.9055 | 18.2027 | 19.8371 | 16.208 | 14.9738 | 0.90573
BASARKOD | 37.4295 | 39.7746 | 41.2657 | 31.6171 | 26.229 | 10.0487 | 9.9682 | 31.0409 | 8.268 | 96.375 | 21.5249 | 53.4486 | 39.0615 | 35.2465 | 35.5342 | 28.2156 | 32.5411 | 16.9515 | 59.6494 | 15.7819 | 11.0926 | 4.911 | 4.5858 | 14.8281 | 0.70539
BELGAVI | 62.5066 | 58.6085 | 58.7787 | 50.3153 | 47.9245 | 53.3046 | 80.7856 | 139.8311 | 152.287 | 158.8407 | 143.1808 | 164.9268 | 165.9579 | 135.9784 | 147.5603 | 147.8259 | 133.1936 | 159.8611 | 178.7182 | 203.0927 | 184.7002 | 150.5182 | 125.6841 | 129.6401 | 3.034
BIDNAL | 52.5146 | 49.0407 | 40.3524 | 35.4877 | 41.4836 | 33.3238 | 48.3141 | 44.1168 | 58.0009 | 53.7225 | 50.2027 | 48.9238 | 50.6525 | 44.1388 | 43.675 | 43.9858 | 36.8937 | 45.4047 | 64.6693 | 61.7305 | 66.4976 | 56.3751 | 49.1322 | 44.1303 | 1.1628
BIJAPUR (VIJAYAPURA) | 82.4991 | 90.9151 | 101.0606 | 97.5631 | 86.0754 | 102.129 | 83.0021 | 76.0198 | 83.0186 | 84.794 | 99.4055 | 104.7174 | 112.4035 | 109.0764 | 106.0111 | 84.4563 | 86.7777 | 78.8778 | 75.4761 | 87.6073 | 95.0814 | 76.974 | 71.8764 | 77.4708 | 2.1533
CHIKKODI | 28.3708 | 30.1483 | 11.7294 | 3.5948 | 26.8394 | 59.9813 | 85.0016 | 148.7326 | 117.5052 | 204.9465 | 181.8006 | 166.222 | 105.4778 | 173.0475 | 165.2778 | 183.5702 | 110.9945 | 173.4601 | 73.4711 | 59.8118 | 31.53 | 75.3796 | 122.5264 | 84.2956 | 2.4237
GADAG | 55.0504 | 46.4556 | 49.9821 | 60.7258 | 65.3539 | 73.0273 | 49.1575 | 62.1511 | 109.443 | 133.4081 | 141.2654 | 154.2297 | 149.5409 | 139.7178 | 149.2426 | 135.0746 | 113.5517 | 80.2954 | 43.8655 | 53.2503 | 20.1536 | 33.1409 | 45.2289 | 59.0122 | 2.0223
GHATAPRABHA | 101.5997 | 93.0737 | 92.7003 | 101.2113 | 82.49 | 95.9376 | 90.9709 | 115.8032 | 117.2444 | 112.2589 | 107.0699 | 87.4026 | 86.8347 | 98.9733 | 94.3385 | 95.9566 | 84.2693 | 97.5808 | 68.3948 | 88.6323 | 80.986 | 68.9515 | 79.8375 | 76.3361 | 2.2189
HAVERI | 145.1541 | 157.4962 | 166.7694 | 139.3921 | 134.91 | 121.8307 | 140.3875 | 152.0572 | 162.0063 | 145.1283 | 112.2208 | 123.2113 | 133.1458 | 121.6461 | 129.76 | 124.3955 | 127.5249 | 157.774 | 148.5347 | 112.0989 | 91.0171 | 91.4173 | 123.5519 | 111.3772 | 3.1728
HUBLI | 36.5867 | 31.8101 | 29.3357 | 50.5722 | 41.9538 | 48.2191 | 54.4765 | 73.2935 | 73.8383 | 79.9315 | 66.3998 | 67.0525 | 72.8929 | 79.4409 | 74.0611 | 81.905 | 80.0029 | 96.0297 | 88.7846 | 99.5715 | 87.2359 | 69.3882 | 58.6804 | 64.5653 | 1.606
INDI | 84.0927 | 76.1228 | 73.8258 | 71.034 | 62.8571 | 71.4916 | 83.3612 | 95.1998 | 98.0379 | 118.5098 | 118.2132 | 118.513 | 127.5761 | 123.1816 | 111.2845 | 107.2183 | 89.3565 | 80.4015 | 27.2992 | 42.0233 | 51.2281 | 47.8121 | 54.9486 | 66.6286 | 2.0002
KARWAR | 75.7951 | 75.2912 | 74.4805 | 83.5108 | 60.9656 | 57.0647 | 61.8736 | 57.3921 | 54.5958 | 50.9114 | 44.6711 | 41.5219 | 42.9891 | 41.4706 | 37.5428 | 40.5754 | 43.9307 | 54.8486 | 72.2118 | 87.5387 | 84.9676 | 70.0464 | 62.985 | 61.3598 | 1.4385
KUDACHI | 27.8848 | 33.3359 | 38.4284 | 31.7987 | 64.4835 | 65.9722 | 68.2289 | 76.809 | 84.3095 | 110.69 | 109.9609 | 89.5926 | 103.671 | 102.9452 | 98.3705 | 89.337 | 46.4656 | 49.7259 | 24.9967 | 38.2117 | 35.6383 | 28.8122 | 24.3417 | 27.6172 | 1.4716
KANAGALA | 25.389 | 28.666 | 29.7406 | 25.7357 | 21.3498 | 23.0046 | 17.7492 | 13.5357 | 17.8764 | 12.7114 | 12.5149 | 12.7959 | 11.592 | 13.0409 | 9.8605 | 11.9619 | 13.7957 | 17.2477 | 20.2306 | 20.0721 | 21.1621 | 18.7381 | 18.6637 | 18.859 | 0.43629
MUGHALKHOD | 26.0632 | 30.9545 | 20.2831 | 38.8515 | 30.9413 | 61.7396 | 64.9201 | 67.5683 | 81.2783 | 74.5651 | 74.816 | 67.2237 | 94.3986 | 88.9852 | 90.5054 | 82.4415 | 87.9712 | 76.0304 | 69.6331 | 28.4431 | 24.5354 | 39.8292 | 46.2076 | 13.3621 | 1.3815
M.K. HUBLI | 60.7051 | 52.3043 | 52.4562 | 49.8924 | 42.7695 | 40.9638 | 72.0959 | 81.6384 | 103.2888 | 104.204 | 73.5946 | 65.3243 | 67.6325 | 58.1478 | 49.2768 | 61.0153 | 62.7616 | 76.9057 | 78.4399 | 81.6303 | 84.6045 | 64.5806 | 95.2799 | 84.4966 | 1.664
MAHALINGPURA | 137.3833 | 123.4152 | 135.8491 | 130.6452 | 139.3468 | 143.7303 | 144.8428 | 152.0241 | 155.8033 | 133.7163 | 141.0245 | 132.0561 | 133.7661 | 130.947 | 110.7466 | 113.8849 | 129.7018 | 117.3838 | 68.8422 | 85.9946 | 81.8499 | 72.4744 | 86.4154 | 74.0643 | 2.8759
NARENDRA | 93.5671 | 92.801 | 91.122 | 82.1987 | 68.1905 | 69.0797 | 80.986 | 99.7672 | 108.5094 | 109.7527 | 97.624 | 104.5317 | 96.0194 | 89.712 | 91.2518 | 86.2082 | 91.2893 | 96.405 | 111.8347 | 119.6712 | 123.3969 | 103.1241 | 104.3192 | 101.3184 | 2.3127
RANEBENNUR | 90.2065 | 53.4293 | 60.3233 | 98.9331 | 149.2239 | 128.6316 | 146.5057 | 162.9345 | 173.4553 | 131.1529 | 110.0693 | 104.3424 | 106.486 | 101.7827 | 106.4423 | 104.0447 | 112.281 | 112.5155 | 127.2607 | 110.9876 | 128.8477 | 143.1932 | 132.623 | 159.3491 | 2.855
SIRSI | 66.223 | 70.3723 | 61.1249 | 56.1995 | 46.6221 | 49.6154 | 57.8313 | 66.7796 | 65.3171 | 57.2786 | 53.1398 | 48.1235 | 53.8419 | 49.8359 | 43.0651 | 41.7944 | 51.7721 | 77.4209 | 94.4917 | 94.8068 | 94.4783 | 78.8067 | 60.0022 | 58.5712 | 1.4975
SHIGGAON | 95.2211 | 99.4722 | 83.6285 | 86.7055 | 76.0008 | 71.4923 | 81.2356 | 86.043 | 81.2832 | 88.6524 | 81.9406 | 74.833 | 69.8979 | 79.5817 | 55.9947 | 68.942 | 87.9297 | 82.2296 | 95.1645 | 74.8549 | 78.9198 | 57.1745 | 66.4385 | 75.4459 | 1.8991
SAVADATTI | 89.0019 | 97.897 | 106.7313 | 99.7137 | 95.8509 | 84.2588 | 91.0693 | 64.3763 | 60.0149 | 72.3682 | 73.8885 | 73.9736 | 75.7727 | 71.3798 | 60.6425 | 61.2073 | 66.0654 | 72.1306 | 84.605 | 102.7059 | 124.9423 | 131.5278 | 117.0781 | 132.3765 | 2.1096
VAJRAMATTI | 61.6631 | 61.4312 | 78.6054 | 60.5517 | 76.1591 | 77.5998 | 81.5973 | 80.8166 | 81.7262 | 127.9002 | 139.6283 | 161.2159 | 141.775 | 140.5479 | 149.6779 | 152.0403 | 102.7519 | 77.2348 | 50.6701 | 55.2498 | 63.3898 | 53.0948 | 53.8282 | 54.9642 | 2.1841
BESCOM | 2.0644 | 2.1938 | 2.2744 | 2.0911 | 6.0213 | 5.7718 | 5.8902 | 5.1824 | 5.0598 | 4.5226 | 3.8961 | 2.8924 | 2.8146 | 2.4404 | 3.0421 | 2.7762 | 3.5837 | 4.1686 | 3.0373 | 2.9015 | 2.7473 | 2.0657 | 2.148 | 1.7225 | 0.081308
GESCOM (Kustagi) | 57.6018 | 60.4795 | 48.6016 | 45.0176 | 39.3896 | 48.3901 | 42.7879 | 42.7395 | 44.9077 | 51.6481 | 43.3682 | 43.5904 | 47.8924 | 42.3685 | 40.5535 | 37.4162 | 29.7295 | 31.224 | 39.4529 | 41.6061 | 42.3212 | 36.5835 | 46.6357 | 47.3573 | 1.0517
GESCOM (Shahpur) | 1.5949 | 1.6948 | 1.8287 | 1.8753 | 1.6094 | 1.7469 | 1.7839 | 1.5418 | 1.2683 | 7.556 | 5.7546 | 7.1538 | 6.9572 | 5.9637 | 5.682 | 5.4182 | 2.3294 | 3.1637 | 4.0158 | 3.712 | 2.8927 | 2.5613 | 1.2193 | 1.3142 | 0.080638
TOTAL | 1984.0872 | 1980.6622 | 1965.947 | 1952.6996 | 1976.0603 | 2064.9408 | 2232.7355 | 2522.098 | 2689.1188 | 2890.5134 | 2868.4316 | 2928.5165 | 2915.8391 | 2865.6831 | 2793.2016 | 2746.7251 | 2552.5329 | 2420.7606 | 2165.5272 | 2165.5067 | 2092.222 | 2054.7512 | 2033.3703 | 2000.8811 | 56.8628
| 1452 | 1445 | 1454 | 1467 | 1475 | 1504 | 1594 | 1779 | 1921 | 2105 | 2211 | 2280 | 2281 | 2237 | 2124 | 1960 | 1795 | 1633 | 1610 | 1643 | 1592 | 1544 | 1515 | 1481 | 42.1
| 0.73182 | 0.72955 | 0.73959 | 0.75127 | 0.74643 | 0.72835 | 0.71392 | 0.70537 | 0.71436 | 0.72824 | 0.7708 | 0.77855 | 0.78228 | 0.78062 | 0.76042 | 0.71358 | 0.70322 | 0.67458 | 0.74347 | 0.75871 | 0.76091 | 0.75143 | 0.74507 | 0.74017 | 0.74038

## MU_ALLOCATION
HUBLI ELECTRICITY SUPPLY COMPANY LIMITED
No: HESCOM/GM(T)/EM/EE/AEE-1/2025-26/CYS- | [6 empty] | Date: 28.01.2026
To,
Chief Engineer (EIecty), | [6 empty] | Fax No:-080-22282287
SLDC, AR Circle, KPTCL BangaIore, 560009
Sir,
Sub: Energy re-allocation for 29.01.2026 for 220KV receiving stations coming under HESCOM jurisdiction.
| Ref:- Your Ir. No:CEE/EE/AEE-2/SLDC/Cys- |  |  |  |  | Date: 28.01.2026
Energy at Generation level to HESCOM is 58.32 MU
Energy at 220KV level to HESCOM is 56.86 MU
As per the energy allocation from SLDC 29.01.2026, 58.32 MU is alloted at generation level. The same has been reallocated amongst various 220KV receiving stations.
Instructions are issued to respective Zonal Chief Engineer (EIe) and Superintending Engineer (EIe) O&M Circles to limit the daily consumption to within the allocation duly taking into consideration of maximum and minimum values to the 11KV feeders emanating from 220KV, 110KV and 33KV sub-stations.
It is a requested to allocate 100MW more than the above allocation between 22:00 to 06:00 hrs to arrange power supply to EIP Feeders with farm houses during load shedding period.
SI No | Name of 220KV Stations |  | 0.74476 |  | Energy Allocation 29.01.2026 in MU | Average Load in MW | Allocation on 27.01.2026 in MU | Consumption on 27.01.2026 in MU
Hubli Zone
1 | Ambewadi | 31 | 1 | 23.0876 | 1.4266 | 59.4423 | 1.3914 | 1.082
2 | Bidnal | 27.9 | 0.9 | 20.7788 | 1.1628 | 48.4487 | 1.1307 | 1.257
3 | Gadag | 58.9 | 1.9 | 43.8663 | 2.0223 | 84.2635 | 1.9599 | 2.222
4 | Haveri | 46.5 | 1.5 | 34.6313 | 3.1728 | 132.2003 | 3.0963 | 3.122
5 | Hubli | 18.6 | 0.6 | 13.8525 | 1.606 | 66.9178 | 1.5529 | 1.817
6 | Karwar | 27.9 | 0.9 | 20.7788 | 1.4385 | 59.9392 | 1.4055 | 1.314
7 | Narendra | 9.3 | 0.3 | 6.9263 | 2.3127 | 96.3617 | 2.2475 | 2.143
8 | Ranebennur | 1.302 | 0.042 | 0.96968 | 2.855 | 118.9592 | 2.7728 | 2.606
9 | Sirsi | 4.03 | 0.13 | 3.0014 | 1.4975 | 62.3964 | 1.4574 | 1.391
10 | Shiggaon |  |  |  | 1.8991 | 79.1284 | 1.853 | 1.805
11 | BESCOM (220KV Davengeri) |  |  |  | 0.081308 | 3.3878 | 0.079343 | 0.092
Total Allocation for Hubli Zone |  |  |  |  | 19.4747 | 811.4455 | 18.9466 | 18.851
Belgaum Zone
12 | Aheri |  |  |  | 1.1686 | 48.6935 | 1.1264 | 1.401
13 | Athani | 84.81 | 2.7358 | 63.1631 | 2.5285 | 105.3533 | 2.4595 | 2.682
14 | Aques |  |  |  | 1.3017 | 54.2386 | 1.2603 | 1.233
15 | B. Bagewadi+ (0.015 for Narayanpur Dam & Village) |  |  |  | 2.5944 | 108.0998 | 2.5094 | 3.153
16 | Bagalakote |  |  |  | 3.0983 | 129.095 | 3.0116 | 3.396
17 | Bannur |  |  |  | 0.90573 | 37.7386 | 0.88002 | 0.934
18 | Basarkod |  |  |  | 0.70539 | 29.3912 | 0.6891 | 0.847
19 | Belgaum | 78.256 | 2.5244 | 50.7926 | 3.034 | 126.4175 | 2.9275 | 3.009
20 | Bijapur |  |  |  | 2.1533 | 89.7203 | 2.0986 | 2.167
21 | Chikkodi (including Hukkeri All of 0.282MU ) | 72.85 | 2.35 | 54.2557 | 2.4237 | 100.9881 | 2.333 | 2.847
22 | Ghataprabha | 77.5 | 2.5 | 57.7189 | 2.2189 | 92.4522 | 2.1626 | 2.189
23 | Indi |  |  |  | 2.0002 | 83.3424 | 1.9456 | 2.119
24 | Kanagala |  |  |  | 0.43629 | 18.1789 | 0.42772 | 0.371
25 | Kudachi | 96.1 | 3.1 | 71.5714 | 1.4716 | 61.3178 | 1.429 | 1.648
26 | Mughalkhod |  |  |  | 1.3815 | 57.5645 | 1.3372 | 1.398
27 | M.K.HUBLI |  |  |  | 1.664 | 69.3337 | 1.6145 | 1.64
28 | Mahalingapur |  |  |  | 2.8759 | 119.8295 | 2.8096 | 2.796
29 | Savadatti | 26.35 | 0.85 | 19.6244 | 2.1096 | 87.8991 | 2.0564 | 1.947
30 | Vajramatti | 8.06 | 0.26 | 6.0028 | 2.1841 | 91.005 | 2.1194 | 2.464
31 | GESCOM( 220KV Kustagi) | 7.75 | 0.25 | 5.7719 | 1.0517 | 43.8193 | 1.0271 | 1.013
32 | GESCOM( 220KV Shahpur) |  |  |  | 0.080638 | 3.3599 | 0.078016 | 0.096
Total Allocation for Belgaum Zone |  |  |  |  | 37.3881 | 1557.8384 | 36.3027 | 39.35
Total |  | 677.108 | 21.8422 |  | 56.8628 | 2369.2838 | 55.2493 | 58.201
Excess/Deficit Consumption over & above the allocation in MU | [7 empty] | 2.9517
Note: 58.32 is allocation of HESCOM at generation level.
2.5% loss shall be deducted to arrive at 220kV S/S from generation level
Allocation from GESCOM For feeding 110KV Gadag-Betageri and 33KV Hanumanal to 220KV Gadag.
Allocation from GESCOM For feeding 110 KV Ilakal and 110KV Hunagund from 220KV Kustagi. | [8 empty] | 33 kv line
Allocation from BESCOM For feeding 66KV Harihar Hospet to fed BESCOM Loads.
Allocation from GESCOM For feeding 110KV Aski and 110KV Talikoti form 220KV Shahpur.
Including all other ESCOMs allocation total HESCOMS allocation is 56.86 MU
Pls Note: As per the discussions held during VC meeting under the chairmanship of Hon'ble MD, KPTCL on 14.10.2024, it is a requested to allocate 100MW more than the above allocation between 22:00 to 06:00 hrs to arrange power supply to EIP Feeders with farm houses during load shedding period.